## Solar Panels
Manufacturer | URL | Model | Detail | Series | Current Model | Country of Manufacturer | Wattage PMAX | Power Tolerance | Short Circuit Current (ISC) | Open Circuit Voltage (VOC) | Module Efficiency | Temperature Coefficient
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM405M72HBDVP | Table 2: JKM405M-72H-BDVP technical specifications | Value | SWAN | Yes | CN | 405 | 0˜+3% | 10.3 | 49 | 19.78 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM400M72HBDVP | Table 2: JKM400M-72H-BDVP technical specifications | Value | SWAN | Yes | CN | 400 | 0˜+3% | 10.24 | 48.8 | 19.54 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM395M72HBDVP | Table 2: JKM395M-72H-BDVP technical specifications | Value | SWAN | Yes | CN | 395 | 0˜+3% | 10.17 | 48.5 | 19.29 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM390M72HBDVP | Table 2: JKM390M-72H-BDVP technical specifications | Value | SWAN | Yes | CN | 390 | 0˜+3% | 10.11 | 48.3 | 19.05 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM385M72HBDVP | Table 2: JKM385M-72H-BDVP technical specifications | Value | SWAN | Yes | CN | 385 | 0˜+3% | 10.04 | 48 | 18.81 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM415N72HTV | Table 2: JKM415N-72H-TV technical specifications | Value | SWAN | Yes | CN | 415 | 0 ~ + 5 W | 10.86 | 48.9 | 20.27 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM410N72HTV | Table 2: JKM410N-72H-TV technical specifications | Value | SWAN | Yes | CN | 410 | 0 ~ + 5 W | 10.75 | 48.8 | 20.03 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM405N72HTV | Table 2: JKM405N-72H-TV technical specifications | Value | SWAN | Yes | CN | 405 | 0 ~ + 5 W | 10.65 | 48.7 | 19.78 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM400N72HTV | Table 2: JKM400N-72H-TV technical specifications | Value | SWAN | Yes | CN | 400 | 0 ~ + 5 W | 10.54 | 48.63 | 19.54 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM395N72HTV | Table 2: JKM395N-72H-TV technical specifications | Value | SWAN | Yes | CN | 395 | 0 ~ + 5 W | 10.45 | 48.5 | 19.29 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM340M60HTV | Table 2: JKM340M-60H-TV technical specifications | Value | SWAN | Yes | CN | 340 | 0˜+3% | 10.43 | 40.6 | 19.79 | 0.35
Jinko | https://www.solarreviews.com/manufacturers/jinko-solar/solar-panels/JINKO16804SWANJKM335M60HTV | Table 2: JKM335M-60H-TV technical specifications | Value | SWAN | Yes | CN | 335 | 0˜+3% | 10.34 | 40.46 | 19.49 | 0.35
LG | https://www.solarreviews.com/manufacturers/lg-solar/solar-panels/LGSOL51617LGNEON2LG335N1KV5 | Table 2: LG335N1K-V5 technical specifications | Value | LG NEON 2 | Yes | KR | 335 | 0˜+3% | 10.31 | 41.1 | 19.6 | 0.36
LG | https://www.solarreviews.com/manufacturers/lg-solar/solar-panels/LGSOL51617LGNEONRLG375A1CV5 | Table 2: LG375A1C-V5 technical specifications | Value | LG NEON R | Yes | KR | 375 | 0˜+3% |  |  | 21.7 | 0.3
LG | https://www.solarreviews.com/manufacturers/lg-solar/solar-panels/LGSOL51617LGNEONRLG375Q1CV5 | Table 2: LG375Q1C-V5 technical specifications | Value | LG NEON R | Yes | KR | 375 | 0˜+3% | 8.72 | 40.3 | 21.7 | 0.3
LG | https://www.solarreviews.com/manufacturers/lg-solar/solar-panels/LGSOL51617LGNEONRPRIMELG365Q1KV5 | Table 2: LG365Q1K-V5 technical specifications | Value | LG NEON R PRIME | Yes | KR | 365 | 0˜+3% | 10.55 | 43.5 | 21.1 | 0.3

## Financial Incentive
1) The amount of solar panel ‘rebate’ you can claim depends on where you live:
The lower the number the more subsidy cash you get!
Here are some examples for the approximate STC value for a 6.6kW solar system based on a $39 STC price:
Zone 1: | incentive = $4,563
Zone 2: incentive = $4,118 | incentive = $4,118
Zone 3: incentive = $3,861 | incentive = $3,861
Zone 4: incentive = $3,354 | incentive = $3,354